| NOTE: Work must be performed in accordance with this SWMS. This SWMS must be kept and be available for inspection until the high-risk construction work to which this SWMS relates is completed. If the SWMS is revised, all versions should be kept. If a notifiable incident occurs in relation to the high-risk construction work in this SWMS, the SWMS must be kept for at least 2 years from the date of the notifiable incident. |
| --- |
| (PCBU Name, ABN, Office Address and Phone) | Principal Contractor (PC) | (Name, ABN, Office Address) |
| Works Manager: Contact phone: |  | Date SWMS provided to PC: |  |
| Work activity: | General carpentry above 2m – Multi storey house frame and trusses | Workplace location: |  |
| High risk construction work: | X Risk of a person falling more than 2 metres | ( Work on a telecommunication tower | ( Demolition of load-bearing structure |
|  | ( Likely to involve disturbing asbestos | X Temporary load-bearing support for structural alterations or repairs | ( Work in or near a confined space |
|  | ( Work in or near a shaft or trench deeper than 1.5 m or a tunnel | ( Use of explosives | ( Work on or near pressurised gas mains or piping |
|  | ( Work on or near chemical, fuel or refrigerant lines | ( Work on or near energised electrical installations or services | ( Work in an area that may have a contaminated or flammable atmosphere |
|  | ( Tilt-up or precast concrete elements | ( Work on, in or adjacent to a road, railway, shipping lane or other traffic corridor in use by traffic other than pedestrians | X Work in an area with movement of powered mobile plant |
|  | ( Work in areas with artificial extremes of temperature | ( Work in or near water or other liquid that involves a risk of drowning | ( Diving work |
| Have workers been consulted about the SWMS? Note: Consultation with Health and Safety Representatives (HSRs) should be undertaken where there is an HSR at a workplace | ( YES ( NO |
| Person/s responsible for ensuring compliance with SWMS: |  | Date SWMS received: |  |
| What measures are in place to ensure compliance with the SWMS? |  |
| Person responsible for reviewing SWMS control measures: |  | Date SWMS received by reviewer: |  |
| How will the SWMS control measures be reviewed? |  |
| Review date: |  | Reviewer’s signature: |  |

| What are the tasks involved? | What are the hazards and risks? | What are the control measures? |
| --- | --- | --- |
| List the work tasks in a logical order. | Identify the hazards and risks that may cause harm to workers or the public. | Describe what will be done to control the risk. What will you do to make the activity as safe as possible? |
| Workers are competent in use of type of nail gun | Insufficient knowledge or experience to perform tasks that could lead to injury from carpentry hazards | This SWMS is designed for the use by a carpenter or competent person, or for workers under supervision of a carpenter or competent person *Note – This SWMS uses house frame erection for a multi storey structure as an example of general carpentry including general carpentry work above 2m - for detailed safe use of tools and equipment, use and refer to a separate SWP/SWMS for any specialised tool or equipment |
| Timber/prefabricated frames/trusses brought to site- Unloading equipment | Falling objects Manual handling – Musculoskeletal injuries | Prefabricated frames and trusses are to be unloaded using mechanical aid – forklift/vehicle loading crane SWMS required separately to this SWP Unload materials as close as practicable to work area to reduce manual handling Use two person lifts where manual handling of large objects is required Workers to lift only within their own physical capacity |
| Manual handling (general) | Manual handling – Musculoskeletal injuries | Use mechanical aids where practicable Use two person lifts as required for manual handling of large or awkward objects |
| Setting up materials and equipment | Slips trips and falls Crush hands, cuts or lacerations | Set up equipment on level ground. Avoid rough and difficult terrain Use applicable PPE when using saws and nail guns and other powered tools such as - safety glasses and hearing protection Use tools and equipment only that you are trained in – if unfamiliar then only use under instruction and supervision of a competent person Wear safety footwear Hang leads out of access ways on insulated hooks only Ensure that power supply is RCD protected |
| Laying first floor joist | Slips, trips and falls when carrying Fall from height (ladder or trestle under 2m) | Clear work area of debris and obstructions. Ensure assistance and team lift when placement of joists off ladder Work platform ladder or plank set up no more than 2m off working area Industrial grade ladder / work platform ladder or trestle with planks must be used. Do not over reach Back prop noggins if used for resting planks |
|  | Electric shock Cuts from power saw when cutting joist | Ensure power supply is RCD protected Test and tag electrical equipment Training/supervision is the use of a power saw. Ensure guarding is working and in place Training/supervision is the use of a nail gun. Ensure safe use – refer to separate SWP if required |
| Coordinating works with crane (if applicable) | Plant failure Objects falling from height Workers struck by plant | The activity of set up and use of a crane is not covered by this SWMS –The safe coordination of carpentry works using a crane is covered in this SWMS Ensure that crane operator has individual SWMS for safe set up and use of the crane Consult with crane operator and or rigger/dogman to plan lifts Remain clear of operational zone of plant whilst the crane is operating Ensure clear communication/eye contact with crane operator/rigger/dogman (if applicable) when setting the frame/truss into place for initial fixing and support |
| Loading and placement of wall frames to the ground floor then to second story | Falls and trips when carrying frames Manual handling – Musculoskeletal injuries | Check weather conditions. Do not erect in high winds or rain Ensure clear access, work area is clear of debris and obstructions. Assess weight and use team lifting when required Before standing walls install timbers across window openings at 900mm off floor to create fall protection. Avoid bump fire on nail guns except for floor install Electrical equipment test and tag Wear gloves and glasses installing metal bracing and clips For manual placement of wall frames use at least two people to stand walls utilising stopping blocks so walls don’t slide off base |
| Lay flooring | Fall from height | Commence laying flooring of second storey by commencing adjacent to an internal or external access point that provides initial fall protection. Laying of sheets needs to then proceed systematically so that workers are prevented from falling over the leading edge (e.g.: work forward using the new sheet as platform for then installing the next sheet) Strip flooring should be installed using a sheet to start the work and laying of boards needs to then proceed systematically so that workers are prevented from falling over the leading edge |
| Marking top plate for trusses | Falls from height | Use a scaffold, industrial grade step ladder/work platform or trestle from inside the house frame Never walk an external top plate |
| Installing brace ply on second level | Fall from height Nail gun injury | Use two people to hold brace ply in position on second storey reaching through wall frames to provide fall protection A ladder may be used from ground level to nail off multiple sheets if required. Extension ladder must be 1 in 4 grade, be secured at the foot or supported by a worker, be on stable ground and an industrial grade ladder The ladder must rest on top plate between trusses. Do not over reach Preferably hand nail off sheet to hold in position, Nail gun may then be used, ensure firing line is clear of other workers Do not bump fire, Hands to be kept well clear of gun. Hearing and eye protection must be used |
| Loading and placement of trusses | Structural collapse Fall from heights Electric shock Manual handling – Musculoskeletal injuries | Ensure that an exclusion zone is established for the lower level – no person to be underneath when materials are being loaded above Proof check plans that the frame is complete and ready for trusses Only suitable trained personnel to work plant and equipment Void protection platform must be installed – refer to separate void protection SWMS Cover any other penetrations greater than 60mm 3 plank scaffolding should be erected before truss installation on external walls on double storey homes Check that temporary bracing is adequate as well as extra bracing for loading trusses. Ensure all framing sections, nail plates, strapping are nailed off before loading roof. Trusses should be stockpiled by crane onto the top plate, which have been additionally braced to carry the extra weight Work should be planned so that trusses are arranged in sequence to minimize handling during truss standing Spread trusses out over top plate so they assist with fall protection One competent person may walk them out on top plate (centered) and two others from the scaffold (left, right) using push sticks to lay trusses out May walk internal top plate, Work permitted up to 1.5 from external top plate Ensure that the first truss installed are braced, straight and plum - working off a ladder and or scaffold and using timber props Do not overreach Do not install in high winds and rain Install all ties, noggins, trimming and tie downs to secure truss |
| Storage of materials |  | Large carpentry works can last for several days or longer – ensure that all materials that need to be stored overnight are: Stack timber, frames, trusses or other timber, and materials on a dedicated lay down area /s Ensure that all materials remain clear of vehicle path or other trades/workers access/egress |
| Clean up | Housekeeping, slip trip, fall hazard Dust, sharp edges | Clean up all offcuts/waste at the end of each day, place in dedicated waste area or remove from site if required Wear dust musk, gloves and eye protection |

| Name of Worker/s | Worker signature/s |
| --- | --- |
| Date SWMS received by workers |  |

PLEASE NOTE: It may be necessary to use more than one page to complete an adequate safe work procedure (SWMS).